## In Lab Exercise-Student Data1
Name: | Student name
Section: | XXX |  |  |  | Date: | Aug. 2014
Exercise: | AN EXERCISE IN USING SPREADSHEET PROGRAMS FOR DATA ANALYSIS
Exercise # 1: Practice data set
Table 1: | Spectrometric data for the analysis of PAM in Dristan Nasal Spray using a
Beckman DU-640 UV-Vis spectrophotometer operating at 274 nm
| Sample | Concentration (ppm) | Absorbance 1 | Absorbance 2 | Absorbance 3
| Blank | 0 | 0.0001 | 0.0002 | 0.0001
| S1 | 10 | 0.086 | 0.087 | 0.086
| S2 | 20 | 0.172 | 0.172 | 0.175
| S3 | 30 | 0.245 | 0.246 | 0.247
| S4 | 40 | 0.328 | 0.325 | 0.332
| S5 | 50 | 0.386 | 0.389 | 0.388
| Unknown | ? | 0.098 | 0.096 | 0.098
Table 2: | Spectrometric data for the analysis of PAM in Dristan Nasal Spray using a
Beckman DU-640 UV-Vis spectrophotometer operating at 274 nm
| Sample | Concentration (ppm) | Corrected Absorbance 1 | Corrected Absorbance 2 | Corrected Absorbance 3
| Blank | 0
| S1 | 10
| S2 | 20
| S3 | 30
| S4 | 40
| S5 | 50
| Unknown | ?
Table 3: | Spectrometric results for the analysis of PAM in Dristan Nasal Spray using a
Beckman DU-640 UV-Vis spectrophotometer operating at 274 nm
| Sample | Concentration (ppm) | Corrected Average Abs. | s | %RSD | ε(ug/mL-1cm-1) | 95% Conf. Int.
Blank
S1
S2
S3
S4
S5
Unknown
LOD
LOQ
| Pathlength (b) in cm |  | 1
| TINV(0.05,2)= | 4.303
Regression Statistics
Table 4: SUMMARY OUTPUT
SUMMARY OUTPUT
Regression Statistics
Multiple R
R Square
Adjusted R Square
Standard Error
Observations
ANOVA
| df | SS | MS | F | Significance F
Regression | 1
Residual | 4
Total | 5
Coefficients
Intercept
X Variable 1
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals | Standard Residuals
Table 5: Propagated uncertainty on sample aliquots
Parameters |  |  | Sample Aliqot Results
Parameter |  | Value | Sample | CD (ppm) | ScD | CUnk. (±SUnk.) (ppm)
Sy
m
L
N
Yc (Avg)
Y (Avg)
Sxx
Manual Regression Statistics
Parameter | Value | Parameter | Value
Xavg |  | Yavg
Sxx |  | R
Syy |  | R2
Sxy |  | Sy
m |  | sm
b |  | sb
Table 6: Propagated uncertainty on sample
Dilution Data
CD (M) | ±ScD | Final Vol. (mL) | ±SvDF | Transfered Vol. | ±SvT
(ppm) | (ppm) | (VDF) | (mL) | VT (mL) | (mL)
Propagated Results
CUnk (M) | ±SUnk | CUnk. (±SUnk.)
(ppm) | (ppm) | (ppm)
Note on B33: =B21
Note on B40: This is the smallest amount that can be measured without accuracy and precision
Note on B41: This is the smallest amount that can be measured with accuracy and precision
Note on B110: =A110*SQRT((B102/A102)^2+(D102/C102)^2+(F102/E102)^2)
Note on C40: =3*($C$62/$B$63)
Note on C41: =10*($C$62/$B$63)
Note on D20: Absorbance of each solution after the substraction of the blanks absorbance
Note on D33: =AVERAGE(D21:F21)
Note on D40: =($B$63*C40)+$B$62
Note on E33: =STDEV(D21:F21)
Note on F33: =IF(C33>0,(E33/D33)*100, "N/A")
Note on G33: =IF(C33=0,"N/A",(D33/($D$42*C33)))
Note on H33: Formula: (t*s)/√(N)

## Sc Detn
Sc Determination |  | Standard Deviation of the Concentration of the Unk
ID | Value | Comments
Sy |  | standard error
m |  | pendiente
(Sy/m)
L |  | # veces que analizó el desconocido
1/L
N |  | # de datos que utilizó para hacer la regresión
1/N
Yc |  | absorbancia promedio del desconocido
Y |  | promedio de los promedios (sin incluir el unk)
m2 |  | (pendiente)2
Sm |  | "standard error" de la pendiente
Sxx
(Yc-Y)2
m2*Sxx
(Yc-Y)2/m2*Sxx
((1/L) + (1/N) + (Yc-Y)2/m2*Sxx)
SQRT
Sc = SQRT*(Sy/m)
C±Sc

## At Home Exercise-Student Data2
Name: | Student XXX
Section: |  |  |  |  | Date
Excel: | AN EXERCISE IN USING SPREADSHEET PROGRAMS FOR DATA ANALYSIS
Exercise #2: Calibration of an Analytical Balance
Balance:________________________________ ( Enter Type, Model and Max Capacity)
Table 1: | Precision Qualification: Standard weight ______ g (50 or 100g)
ID | Raw Exp. Mass Data (g) | Avg. Exp. Mass (g) | s (g) | %RSD | %RE
1
2
3
4
5
6
7
Table 2: | Gravimetric Data
Calibration Qualification
| Sample | Mass of Standard (g) | Exp. Mass 1 (g) | Exp. Mass 2 (g) | Exp. Mass 3 (g)
Blank
S1
S2
S3
S4
Unk
Table 3: | System Calibration and Reproducibility
| Sample | Mass of Standard (g) | Avg. Exp. Mass (g) | s (g) | %RSD | 95% Conf. Int. (for Error Bars)
Blank
S1
S2
S3
S4
Unk
LOD
LOQ
Regression Statistics
SUMMARY OUTPUT
Regression Statistics
Multiple R
R Square
Adjusted R Square
Standard Error
Observations
ANOVA
| df | SS | MS | F | Significance F
Regression
Residual
Total
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept
X Variable 1
RESIDUAL OUTPUT
Observation | Predicted Y | Residuals | Standard Residuals
1
2
3
4
Table 7 Propagated uncertainty on LOD
Parameters |  |  | Sample Results
Parameter |  | Value | Sample | M Unk (g) | Sc Unk (g) | MUnk= masa | Utilizar la gráfica (ecuación de la línea)
Sy |  |  | Unk
m
L
N
Yc (Avg)
Y (Avg)
Sxx
X Variable Residual Plot
Calibration Curve
Insert Calibration Curve In this Space : Remember to identify axes with units, include error bars, the equation and R2 value
Note on F9: Ivan: True value is the label mass of the standard weight used.

## Sc Detn (Ex #2)
Sc Determination |  | Standard Deviation of the Concentration of the Unk
ID | Value | Comments
Sy |  | standard error
m |  | Slope
(Sy/m)
L |  | # veces que analizó el desconocido
1/L
N |  | # de datos que utilizó para hacer la regresión
1/N
Yc |  | absorbancia promedio del desconocido
Y |  | promedio de los promedios (sin incluir el unk)
m2 |  | (pendiente)2
Sm |  | "standard error" de la pendiente
Sxx
(Yc-Y)2
m2*Sxx
(Yc-Y)2/m2*Sxx
((1/L) + (1/N) + (Yc-Y)2/m2*Sxx)
SQRT
Sc = SQRT*(Sy/m)
C±Sc

## Discu¦Concl
Discussion/Conclusion:
Start typing here

## Info for table#6
5.000(±0.006) mL
C1=?
100.00(±0.01) mL
C2(±Sc2) =11.5(±0.9)
2. Calcular C1 en la celda A110
1. Escribir los valores
correspondientes en la tabla #6, fila 110
3. Observe que todos los datos que se
utilizaron para calcular C1 tienen un error (incertidumbre)
4. Como todos los datos tienen incertidumbres. El resultado de C1 tiene una incertidumbre. Pero no es tan facil como multiplicar las incertidumbres
5. ¿Que operaciones matematicas se realizaron para
calcular C1?
6. Para operaciones matemáticas de multiplic y División la incertidumbre se calcula de la siguiente forma
C_1±(s_c1 )=(11.4 ±(0.9) x 100.00±(0.01))/(5.000 ±(0.006))
7. Calcule el error en la C1, construyendo la fórmula de arriba en la celda B99
Unknown
Stock Unknown