## Student1 Ind. Data
Student 1 Name:_______________________________________________________________________
Section: |  |  |  | Date:__________________
Experiment: | Calibration of Volumetric Glassware FALL 2014
Table 1: Experimental data for the calibration of a Class A Buret
Trial 1
General Specs | Buret Vol. (mL) | Tolerance (mL) | Temp. ( °C) | Correction (mL/g)
| 50 | 0.05
Expected | Delivered Volume (mL) |  | Delivered Mass (g)
Vol. (mL) | Initial | Final | Initial | Final
0 | 0 | 0
10
20
30
40
50
Trial 2
General Specs | Buret Vol. (mL) | Tolerance (mL) | Temp. ( °C) | Correction (mL/g)
| 50 | 0.05
Expected | Delivered Volume (mL) |  | Delivered Mass (g)
Vol. (mL) | Initial | Final | Initial | Final
0 | 0 | 0
10
20
30
40
50
Trial 3
General Specs | Buret Vol. (mL) | Tolerance (mL) | Temp. ( °C) | Correction (mL/g)
| 50 | 0.05
Expected | Delivered Volume (mL) |  | Delivered Mass (g)
Vol. (mL) | Initial | Final | Initial | Final
0 | 0 | 0
10
20
30
40
50
Table 2: Actual volume and corrections at each 10 mL interval
Trial 1
Expected Vol. (mL) | Delivered Vol. (mL) | Delivered Mass (g) | Actual Vol. (mL) | Correction (mL)
0
10
20
30
40
50
Trial 2
Expected Vol. (mL) | Delivered Vol. (mL) | Delivered Mass (g) | Actual Vol. (mL) | Correction (mL)
0
10
20
30
40
50
Trial 3
Expected Vol. (mL) | Delivered Vol. (mL) | Delivered Mass (g) | Actual Vol. (mL) | Correction (mL)
0
10
20
30
40
50
Table 3: Calibration results
Actual Volume Results
Expected Vol. (mL) | Average Delivered Volume (mL) | Average Delivered Mass (g) | Actual Volume (mL) | Average Correction (mL) | s Actual Volume (mL) | %RSD Actual Vol. (mL)
Avg. Temperature
RE50 mL (ppt)
RSD50mL (ppt)
Figure 1. Individual buret calibration
Note on A75: Average temperature in degrees
Note on A76: Relative error in ppt for a 50.00 mL delivering
Note on A77: RSD in ppt for a 50.00 mL delivering
Note on B8: Total volume of the buret
Note on B10: Initial Buret Volume (mL)
Note on C8: Manufacturer's Tolerance (mL)
Note on C10: Buret Volume (mL) after delivery
Note on D8: Water Temperature at the moment of the analysis
Note on D10: Mass (g) of empty erlemeyer flask + cap
Note on E8: Correction factor (mL/g) at the specified temperature
Note on E10: Mass (g) of the erlemeyer + cap after delivery
Note on G68: (s correction/actual vol.)*100

## Student2 Indv. Data
Student 2 Name:
Section: |  |  |  | Date:__________________
Experiment: Calibration of Glassware FALL 2013
Table 1: Experimental data for the calibration of a Class A Buret
Trial 1
General Specs | Buret Vol. (mL) | Tolerance (mL) | Temp. ( °C) | Correction (mL/g)
| 50 | 0.05
Expected | Delivered Volume (mL) |  | Delivered Mass (g)
Vol. (mL) | Initial | Final | Initial | Final
0 | 0 | 0
10
20
30
40
50
Trial 2
General Specs | Buret Vol. (mL) | Tolerance (mL) | Temp. ( °C) | Correction (mL/g)
| 50 | 0.05
Expected | Delivered Volume (mL) |  | Delivered Mass (g)
Vol. (mL) | Initial | Final | Initial | Final
0 | 0 | 0
10
20
30
40
50
Trial 3
General Specs | Buret Vol. (mL) | Tolerance (mL) | Temp. ( °C) | Correction (mL/g)
| 50 | 0.05
Expected | Delivered Volume (mL) |  | Delivered Mass (g)
Vol. (mL) | Initial | Final | Initial | Final
0 | 0 | 0
10
20
30
40
50
Table 2: Actual volume and corrections at each 10 mL interval
Trial 1
Expected Vol. (mL) | Delivered Vol. (mL) | Delivered Mass (g) | Actual Vol. (mL) | Correction (mL)
0
10
20
30
40
50
Trial 2
Expected Vol. (mL) | Delivered Vol. (mL) | Delivered Mass (g) | Actual Vol. (mL) | Correction (mL)
0
10
20
30
40
50
Trial 3
Expected Vol. (mL) | Delivered Vol. (mL) | Delivered Mass (g) | Actual Vol. (mL) | Correction (mL)
0
10
20
30
40
50
Table 3: Calibration results
Actual Volume Results
Expected Vol. (mL) | Average Delivered Vol. (mL) | Average Delivered Mass (g) | Average Actual Volume (mL) | Average Correction (mL) | s Actual Volume (mL) | %RSD Actual Vol. (mL)
Avg. Temperature
RE50 mL (ppt)
RSD50mL (ppt)
Figure 1. Individual buret calibration
Note on A75: Average temperature in degrees
Note on A76: Relative error in ppt for a 50.00 mL delivering
Note on A77: RSD in ppt for a 50.00 mL delivering
Note on B8: Total volume of the buret
Note on B10: Initial Buret Volume (mL)
Note on C8: Manufacturer's Tolerance (mL)
Note on C10: Buret Volume (mL) after delivery
Note on D8: Water Temperature at the moment of the analysis
Note on D10: Mass (g) of empty erlemeyer flack + cap
Note on E8: Correction factor (mL/g) at the specified temperature
Note on E10: Mass (g) of erlemeyer + cap after delivery
Note on G68: (s correction/actual vol.)*100

## Pooling Data
Name:
Section: |  |  |  |  | Date:____________
Experiment: | Calibration of Volumetric Glassware FALL 2013
Table 1: Shared Pooling Data (Trial 1)
Student | Expected | Maximum Volume Delivered(mL) |  | Maximum Delivered Mass (g) |  | Temp. | Correction | Delivered | Delivered | Actual Vol. | Correction
I.D. | Vol. (mL) | Initial | Final | Initial | Final | ( °C) | Factor | vol. (mL) | mass (g) | (mL) | (mL)
1 | 50 | 0 | 50
2 | 50 | 0 | 50
3 | 50 | 0 | 50
4 | 50 | 0 | 50
5 | 50 | 0 | 50
6 | 50 | 0 | 50
7 | 50 | 0 | 50
8 | 50 | 0 | 50
9 | 50 | 0 | 50
10 | 50 | 0 | 50
11 | 50 | 0 | 50
12 | 50 | 0 | 50
13 | 50 | 0 | 50
14 | 50 | 0 | 50
15 | 50 | 0 | 50
16 | 50 | 0 | 50
Table 2: Shared Pooling Data (Trial 2)
Student | Expected | Maximum Volume Delivered(mL) |  | Maximum Delivered Mass (g) |  | Temp. | Correction | Delivered | Delivered | Actual Vol. | Correction
I.D. | Vol. (mL) | Initial | Final | Initial | Final | ( °C) | Factor | vol. (mL) | mass (g) | (mL) | (mL)
1 | 50 | 0 | 50
2 | 50 | 0 | 50
3 | 50 | 0 | 50
4 | 50 | 0 | 50
5 | 50 | 0 | 50
6 | 50 | 0 | 50
7 | 50 | 0 | 50
8 | 50 | 0 | 50
9 | 50 | 0 | 50
10 | 50 | 0 | 50
11 | 50 | 0 | 50
12 | 50 | 0 | 50
13 | 50 | 0 | 50
14 | 50 | 0 | 50
15 | 50 | 0 | 50
16 | 50 | 0 | 50
Table 3: Shared Pooling Data (Trial 3)
Student | Expected | Maximum Volume Delivered(mL) |  | Maximum Delivered Mass (g) |  | Temp. | Correction | Delivered | Delivered | Actual Vol. | Correction
I.D. | Vol. (mL) | Initial | Final | Initial | Final | ( °C) | Factor | vol. (mL) | mass (g) | (mL) | (mL)
1 | 50 | 0 | 50
2 | 50 | 0 | 50
3 | 50 | 0 | 50
4 | 50 | 0 | 50
5 | 50 | 0 | 50
6 | 50 | 0 | 50
7 | 50 | 0 | 50
8 | 50 | 0 | 50
9 | 50 | 0 | 50
10 | 50 | 0 | 50
11 | 50 | 0 | 50
12 | 50 | 0 | 50
13 | 50 | 0 | 50
14 | 50 | 0 | 50
15 | 50 | 0 | 50
16 | 50 | 0 | 50
MORE INFORMATION BELOW
Table 2: Pooling Results
Actual Volume
Set | # Replicas | Trial 1 | Trial 2 | Trial 3 | X avg. | S(Xi-Xavg.)2 | s
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
N |  | DF (N-nt)
nt |  | S pooled =[ S(Xi-Xavg)2/N-nt]½
Figure 2. X-Chart for burets in section XXX
Figure 3. R-Chart for burets in section XXX
Questions
Note on C7: Volume (mL) prior delivery
Note on C27: Volume (mL) prior delivery
Note on C47: Volume (mL) prior delivery
Note on D7: Volume (mL) after delivery
Note on D27: Volume (mL) after delivery
Note on D47: Volume (mL) after delivery
Note on E7: Mass (g) of the erlemeyer prior delivery
Note on E27: Mass (g) of the erlemeyer prior delivery
Note on E47: Mass (g) of the erlemeyer prior delivery
Note on F7: Mass (g) of the erlemeyer after delivery
Note on F27: Mass (g) of the erlemeyer after delivery
Note on F47: Mass (g) of the erlemeyer after delivery
Note on G8: Water Temperature at the moment of the analysis
Note on G28: Water Temperature at the moment of the analysis
Note on G48: Water Temperature at the moment of the analysis
Note on H8: Correction factor (mL/g) at the specified temperature
Note on H28: Correction factor (mL/g) at the specified temperature
Note on H48: Correction factor (mL/g) at the specified temperature

## Conclusion
Discussion/Conclussion: